## Sheet1
No | Description | Type | Mfg | Unit | Price | Disc
1 | Panel Box MS H600xW400xD250 |  |  | Pcs | 0 | 0
2 | Circuit breaker Easypact EZC250H - TMD - 125 A - 2 poles 2d | EZC250H2125 | Schneider | Pcs | 0 | 0
3 | IC60N - miniature circuit breaker - 2P - 63A - C curve | A9F74263 | Schneider | Pcs | 0 | 0
4 | IC60N - miniature circuit breaker - 2P - 6A - C curve | A9F74206 | Schneider | Pcs | 0 | 0
5 | Cable 6mm Merah |  | Federal | Roll | 0 | 0
6 | Cable 6mm Biru |  | Federal | Roll | 0 | 0
7 | Skun Ring 16mm |  |  | Pcs | 0 | 0
8 | Skun Y 16mm |  |  | Pcs | 0 | 0
9 | Skun Ferules 16mm |  |  | Pcs | 0 | 0
10 | IC60N - miniature circuit breaker - 2P - 32A - C curve | A9F74232 | Schneider |  | 0 | 0
11 | Panel Box MS H400xW300xD250 |  |  |  | 0 | 0
12 | DIN-rail power supplies for 1-phase systems 24VDC, 5A | CS5.241 | PULS | Pcs | 0 | 0
13 | DIN socket iPC -2P+E -16A-250VAC-NFC15100 -french std-with volt.pres.indic.light | A9A15307 | Schneider | Pcs | 0 | 0
14 | Ethernet-to-Fiber Media Converters | IMC-21 Series | Moxa | Pcs | 0 | 0
15 | Feed-through terminal, Screw connection, 2.5 mm², 800 V, 24 A, dark beige | 1020000000 | Weidmuller | Pcs | 0 | 0
16 | Feed-through terminal, Double-tier terminal, Screw connection, 2.5 mm², 400 V, 24 A, dark beige | 1021500000 | Weidmuller | Pcs | 0 | 0
17 | W-Series, Initiator/actuator terminal, Rated cross-section: 2.5 mm², Screw connection | 1784180000 | Weidmuller | Pcs | 0 | 0
18 | PE terminal, Screw connection, 2.5 mm², 300 A (2.5 mm²), green / yellow | 1020000000 | Weidmueller | Ea | 0 | 0
19 | Roset 4 Core + Adapter SC FTTH/Fiber Optical Terminal Box/OTB FO/Optik |  |  | Pcs | 0 | 0
20 | Patchcord SC-SC Simplex Single Mode [1--5Meter] |  |  | Pcs | 0 | 0
21 | Cable 2,5mm Biru |  | Federal | Roll | 0 | 0
22 | Cable 2,5mm Biru muda |  | Jembo | Roll | 0 | 0
23 | Cable 2,5mm merah |  | Federal | Roll | 0 | 0
24 | Cable 1,5mm Biru |  | Federal | Roll | 0 | 0
25 | Cable 1,5mm Biru muda |  | Jembo | Roll | 0 | 0
26 | Cable 1,5mm merah |  | Federal | Roll | 0 | 0
27 | Cable 0,75mm Biru |  | Federal | Roll | 0 | 0
28 | Cable 0,75mm Biru muda |  | Jembo | Roll | 0 | 0
29 | Cable 0,5mm Biru |  | Federal | Roll | 0 | 0
30 | Skun Ferules 4mm |  |  | Pcs | 0 | 0
31 | Skun Ferules 2,5mm |  |  | Pcs | 0 | 0
32 | Skun Ferules 1,5mm |  |  | Pcs | 0 | 0
33 | Skun Ferules 0,75mm |  |  | Pcs | 0 | 0
34 | Skun Ferules 0,5mm |  |  | Pcs | 0 | 0