## Sheet1
No | Description | Type | Mfg | Unit | Price | Disc
1 | CPU S7-1200, CPU 1215C 14DI, 10DO, 2AI, 24VDC, Program/Data Memory 100 KB | 6ES7215-1AG40-0XB0 | Siemens | Pcs | 5400000 | 0%
2 | Memory card, 4 MB | 6ES7954-8LC03-0AA0 | Siemens | Pcs | 625000 | 0%
3 | Pressure Transmitter | 7MF1565-3CA00-6AA1 | Siemens | Pcs | 2200000 | 0%
4 | SIMATIC S7, memory card for S7-1x 00 CPU/SINAMICS, 3, 3 V flash, 4 MB | 6ES7954-8LC02-0AA0 | Siemens | Pcs | 625000 | 0%
5 | Simatic S7-1200 CPU 1212C | 6ES7214-1HG40-0XB0 | Siemens | Pcs | 3100000 | 0%
6 | SIMATIC S7-1200, ANALOG INPUT, SM 1231, 4 AI, +/-10V, +/-5V, +/-2.5V, OR 0-20MA/4-20 MA, 12 BIT + SIGN BIT (13 BIT ADC) | 6ES7231-4HD32-0XB0 | Siemens | Pcs | 2190000 | 0%
7 | SIMATIC S7-1200, CPU 1212C, compact CPU, DC/DC/relay, onboard I/O: 8 DI 24 V DC; 6 DO relay 2 A; 2 AI 0-10 V DC, Power supply: DC 20.4-28.8V DC, Program/data memory 75 KB | 6ES7212-1HE40-0XB0 | Siemens | Pcs | 2232500 | 0%
8 | SIMATIC S7-1500 COMPACT CPU CPU 1511C-1PN, CENTRAL PROCESSING UNIT WITH WORKING MEMORY 175 KB FOR PROGRAM AND 1 MB FOR DATA, 16 DIGITAL INPUTS, 16 DIGITAL OUTPUTS, 5 ANALOG INPUTS, 2 ANALOG OUTPUTS, 6 HIGH SPEED COUNTERS, 1. INTERFACE: PROFINET IRT WITH 2 PORT SWITCH, 60 NS BIT-PERFORMANCE, INCL. FRONT CONNECTOR PUSH-IN, SIMATIC MEMORY CARD NECESSARY | 6ES7511-1CK00-0AB0 | Siemens | Pcs | 14865000 | 0%
9 | SIMATIC S7-1500, ANALOG IN-/OUTPUT MODULE AI 4X U/I/R/RTD/TC ST/ 4 CHANNELS IN GROUPS OF 4 PROCESSALARMS/ DIAGNOSTICS AQ 2X U/I ST/ 2 CHANNELS IN GROUPS OF 2/ SUBSTITUTE VALUE/ DIAGNOSTICS/ COMMON-MODE-VOLTAGE APPR. 10V/ 16BIT/ ACCURACY 0.3% INCL. FRONT CONNECTOR PUSH IN, FEEDING ELEMENT, SHIELDING ELE- MENT, SHIELDING CLAMP | 6ES7534-7QE00-0AB0 | Siemens | Pcs | 6644000 | 0%
10 | SIMATIC S7-1500, ANALOG INPUT MODULE AI 4 X U/I/RTD/TC, 16 BITS OF RESOLUTION, ACCURACY 0.3 %; 4 CHANNELS IN GROUPS OF 4; 2 CHANNNELS FOR RTD MEASURING, COMMON MODE VOLTAGE APPR. 10 V; DIAGNOSIS, PROCESSALARMS INCL. FRONT CONNECTOR PUSH-IN, FEEDING ELEMENT, SHIELDING ELEMENT, SHIELDING CLAMP | 6ES7531-7QD00-0AB0 | Siemens | Pcs | 3594000 | 0%
11 | SIMATIC S7-1500, ANALOG OUTPUT MODULE AQ 4 X U/I ST; 16 BITS OF RESOLUTION, ACCURACY 0.3 %; 4 CHANNELS IN GROUPS OF 4; DIAGNOSIS, SUBSTITUTE VALUE INCL. POWER SUPPL ELEMENT, SHIELD BRACKET | 6ES7532-5HD00-0AB0 | Siemens | Pcs | 5838000 | 0%
12 | SIMATIC S7-1500, CPU 1511-1 PN, CENTRAL PROCESSING UNIT WITH WORKING MEMORY 150 KB FOR PROGRAM AND 1 MB FOR DATA, 1. INTERFACE: PROFINET IRT WITH 2 PORT SWITCH, 60 NS BIT-PERFORMANCE, SIMATIC MEMORY CARD NECESSARY | 6ES7511-1AK02-0AB0 | Siemens | Pcs | 9100000 | 0%
13 | SIMATIC S7-1500, DIGITAL INPUT MODULE DI32 X DC24V, 32 CHANNELS IN GROUPS OF 16/ INPUT DELAY 0.05... 20MS/ INPUT TYPE 3 (IEC 61131)/ DIAGNOSIS, PROCESSALARMS | 6ES7521-1BL00-0AB0 | Siemens | Pcs | 4060000 | 0%
14 | SIMATIC S7-1500, DIGITAL OUTPUT MODULE DQ 32 X 24V DC/0.5A/ 32 CHANNELS IN GROUPS OF 8, 4 A PER GROUP/ SINGLE-CHANNEL DIAGNOSIS/ SUBSTITUTE VALUE | 6ES7522-1BL01-0AB0 | Siemens | Pcs | 5082000 | 0%
15 | SIMATIC S7-1500, FRONTCONNECTOR SCREW-TYPE, 40PIN, FOR 35MM WIDE MODULES, INCL. 4 JUMPERS, AND CABLE STRAP | 6ES7592-1AM00-0XB0 | Siemens | Pcs | 453000 | 0%
16 | SIMATIC S7-1500, mounting rail 245 mm (approx. 9.6 inch); incl. grounding screw, integrated DIN rail for mounting of incidentals such as terminals, automatic circuit breakers and relays | 6ES7590-1AC40-0AA0 | Siemens | Pcs | 415000 | 0%
17 | SIMATIC S7-1500, MOUNTING RAIL 482 MM (APPR. 19 INCH) INCL. GROUNDING ELEMENT, INTEGRATED DIN RAIL FOR MOUNTING OF SMALL COMPONENTS SUCH AS CLAMPS, FUSES OR RELAYS | 6ES7590-1AE80-0AA0 | Siemens | Pcs | 377000 | 0%
18 | SIMATIC S7-1500, SYSTEM POWER SUPPLY PS 25W 24V DC, SUPPLIES THE OPERATING VOLTAGE FOR THE S7-1500 VIA THE BACKPLANE BUS | 6ES7505-0KA00-0AB0 | Siemens | Pcs | 2329000 | 0%
19 | SIMATIC S7-1500, SYSTEM POWER SUPPLY PS 60W 24/48/60V DC, SUPPLIES THE OPERATING VOLTAGE FOR THE S7-1500 VIA THE BACKPLANE BUS | 6ES7505-0RA00-0AB0 | Siemens | Pcs | 6823000 | 0%
20 | SIMATIC TP700 COMFORT PANEL, WINDOWS CE 6.0, 7" WIDESCREEN-TFT-DISPLAY, 12 MB USER MEMORY, CONFIGURABLE FROM WINCC V11 | 6AV2124-0GC01-0AX0 | Siemens | Pcs | 11900000 | 0%
21 | Component SMC Directional Control Valve | SS3YJ5-41-13-01 | SMC | Pcs | 1788000 | 0%
22 | Selenoid Valve | SYJ514-5HZ | SMC | Pcs | 695000 | 0%