## Sheet1
No | Description | Type | Mfg | Unit | Price | Disc
1 | Distribution Block, Mini, 115A, 3P, Aluminum | 1492-PDM3141 | Allen-Bradley | Pcs | 285000 | 0%
2 | SLC 500 Ethernet / IP Adapter | 1747-AENTR | Allen-Bradley | Pcs | 25189000 | 0%
3 | DH+/RIO Bridge/Scanner Module 2 Channels | 1756-DHRIO | Allen-Bradley | pcs | 21525000 | 0%
4 | EtherNet 10-100M Bridge Module | 1756-EN2T | Allen-Bradley | pcs | 28575000 | 0%
5 | High Speed Counter, 2 Channel / 4 Output (36 Pin) | 1756-HSC | Allen-Bradley | pcs | 10479000 | 0%
6 | Digital Input 32 Pts 10-31 VDC (36 Pin) | 1756-IB32 | Allen-Bradley | pcs | 4683000 | 0%
7 | Digital Input 16 Pts 159-265 VAC Isolated (36 Pin) | 1756-IM16I | Allen-Bradley | pcs | 5954000 | 0%
8 | Logix5583E Controller With 10 Mbytes Memory | 1756-L83E | Allen-Bradley | pcs | 121500000 | 0%
9 | Empty Slot Filler for 1756 Chassis | 1756-N2 | Allen-Bradley | pcs | 281000 | 0%
10 | Digital Output 16 Pts 74-265 VAC (20 Pin) | 1756-OA16 | Allen-Bradley | pcs | 6447000 | 0%
11 | Digital Output 32 Pts 10-31 VDC (36 Pin) | 1756-OB32 | Allen-Bradley | pcs | 6626000 | 0%
12 | Digital Output 16 Pts N.O. Isolated Relay (36 Pin) | 1756-OW16I | Allen-Bradley | pcs | 6195000 | 0%
13 | Power Supply, 85-265 VAC (5V @ 10 Amp) | 1756-PA72 | Allen-Bradley | pcs | 9009000 | 0%
14 | Power Supply, 85-265V AC (5V @ 13 Amp) | 1756-PA75 | Allen-Bradley | pcs | 11025000 | 0%
15 | Screw Clamp Block 20 Pin NemA | 1756-TBNH | Allen-Bradley | pcs | 684000 | 0%
16 | Hub Switch Ethernet switches, 16Port Unmanaged Switch, 24VDC | 1783-US5T | Allen-Bradley | Pcs | 1515000 | 0%
17 | Flex I/O Ethernet Adapter Module | 1794-AENT | Allen-Bradley | pcs | 7279000 | 0%
18 | Flex I/O Digital Inputs | 1794-IB16 | Allen-Bradley | pcs | 2940000 | 0%
19 | Flex I/O Analog Inputs | 1794-IE8 | Allen-Bradley | pcs | 9324000 | 0%
20 | Flex I/O Digital Outputs | 1794-OB16 | Allen-Bradley | pcs | 4190000 | 0%
21 | Flex I/O Analog Outputs | 1794-OE4 | Allen-Bradley | pcs | 8432000 | 0%
22 | Flex I/O Terminal Base | 1794-TB3 | Allen-Bradley | pcs | 1859000 | 0%
23 | Graphic Terminal, Standard Model 6,5 in, Display, TFT Color, Touchscreen, Single Ethernet, 18-30 VDC | 2711P-T7C21D8S | Allen-Bradley | Pcs | 35583108 | 0%