## Sheet 1
No | Description | Type | Mfg | Unit | Price | Disc
1 | Bolt & nut M8 x 40L |  |  | pcs | 0 | 0
2 | Grounding Bar,copper tine,400mm x 50 mm x 6mm |  | Jembo | pcs | 0 | 0
3 | Grounding Cable 35sqmm | Power earth bar-1 to power earth bar-3 | Jembo | M | 0 | 0
4 | Grounding Cable 70sqmm | Field to control room | Jembo | M | 0 | 0
5 | Panel Single Door (HxWxD)1500X800X400 free standing |  | Cometal | Unit | 0 | 0
6 | PLC | 2080-LC70-24QBB | Allen Bradley | Unit | 0 | 0
7 | Modul DI 24 VDC 16 Chanel | 2085-IQ16 | Allen Bradley | Pcs | 0 | 0
8 | Modul DO 24 VDC 16 Chanel | 2085-OB16 | Allen Bradley | Pcs | 0 | 0
9 | Modul AI 4-20mA 8 Chanel | 2085-IF8 | Allen Bradley | Pcs | 0 | 0
10 | HMI 7" | 2711R-T7T | Allen Bradley | Pcs | 0 | 0
11 |  | 2085-ECR | Allen Bradley | Pcs | 0 | 0
12 |  | 2085-EP24VDC | Allen Bradley | Pcs | 0 | 0
13 | IC60N - miniature circuit breaker - 1P - 10A - C curve | A9F74110 | Schneider | Pcs | 0 | 0
14 | Fuse 2A |  |  | Pcs | 0 | 0
15 | DIN-rail power supplies for 1-phase systems 24V, 20A | PIC240.241C | Puls | Pcs | 0 | 0
16 | Relay 24VDC, 4 contact C/O | RXM4AB2BD | Schneider | Pcs | 0 | 0
17 | Socket for relay RXM2/4 | RXZE1M4C | Schneider | Pcs | 0 | 0
18 | Selector switch (auto / manual) |  | salzer | Pcs | 0 | 0
19 | PLC | 2080-LC70-24QBB | Allen Bradley | Unit | 0 | 0
20 | Modul AI 4-20mA 8 Chanel | 2085-IF8 | Allen Bradley | Pcs | 0 | 0
21 | Modul AO 4-20mA 8 Chanel | 2085-OF4 | Allen Bradley | Pcs | 0 | 0
22 | HMI 7" | 2711R-T7T | Allen Bradley | Lot | 0 | 0
23 |  | 2085-ECR | Allen Bradley | Lot | 0 | 0
24 | MCB 10A | A9F74110 | Schneider | Pcs | 0 | 0
25 | Fuse 2A |  |  | Pcs | 0 | 0
26 | DIN-rail power supplies for 1-phase systems 24V, 20A | PIC240.241C | Puls | Pcs | 0 | 0
27 | Relay 24VDC, 4 contact C/O | RXM4AB2BD | Schneider | Pcs | 0 | 0
28 | Socket for relay RXM2/4 | RXZE1M4C | Schneider | Pcs | 0 | 0
29 | Selector switch (auto / manual) |  | salzer | Pcs | 0 | 0
30 | Din Rill | Ts 35/x7,5 | Weidmuller | Pcs | 0 | 0
31 | Panel Single Door (HxWxD)1500X800X400 free standing |  | Cometal | Unit | 0 | 0
32 | PLC | 2080-LC70-24QBB | Allen Bradley | Unit | 0 | 0
33 | Modul DI 24 VDC 16 Chanel | 2085-IQ16 | Allen Bradley | Pcs | 0 | 0
34 | Modul DO 24 VDC 16 Chanel | 2085-OB16 | Allen Bradley | Pcs | 0 | 0
35 | DIN-rail power supplies for 1-phase systems 24V, 20A | PIC240.241C | Puls | Pcs | 0 | 0
36 | MCB 10A | A9F74110 | Schneider | Pcs | 0 | 0
37 | Fuse 2A |  |  | Pcs | 0 | 0
38 | Relay 24VDC, 4 contact C/O | RXM4AB2BD | Schneider | Pcs | 0 | 0
39 | Socket for relay RXM2/4 | RXZE1M4C | Schneider | Pcs | 0 | 0
40 | Selector switch (auto / manual) |  | salzer | Pcs | 0 | 0
41 | Pressure Gauge 1,6 Bar c/w Accessories |  | Wika | Pcs | 0 | 0
42 | Pressure Gauge 6 Bar c/w Accessories |  | Wika | Pcs | 0 | 0
43 | Pressure Gauge 60 Bar c/w Accessories |  | Wika | Pcs | 0 | 0
44 | Cable Gland 1/2" NPT |  |  | Pcs | 0 | 0
45 | Cable Gland 3/4" NPT |  |  | Pcs | 0 | 0
46 | Ethernet Cable (Cat6) | 1 roll 300meter |  | ROLL | 0 | 0
47 | Isolasi PVC Tape 1/2"(W) | Hitam | PVC | Pcs | 0 | 0
48 | Isolasi PVC Tape 1/2"(W) | Hijau | PVC | Pcs | 0 | 0
49 | Isolasi PVC Tape 1/2"(W) | merah | PVC | Pcs | 0 | 0
50 | Isolasi PVC Tape 1/2"(W) | Kuning | PVC | Pcs | 0 | 0