## Sheet1
No | Description | Type | Mfg | Unit | Price | Disc
1 | Compact Logix 5370 L3 Controller , Dual Ethernet w/DLR , 1 MB Memory , 8 I/O Expansion, 16 Ethernet IP Nodes , Controller Are Shipped with 1 GB SD Card and Support up to 2 GB Card | 1769-L30ER | Allen Bradley | Pcs | 29640000 | 0
2 | Power Supply 120/240 VAC Input 2 Amp @ 5 VDC Output | 1769-PA 2 | Allen Bradley | Pcs |  | 0
3 | 16 Channel Compact High- density Analaog Current Input Module | 1769-IF16C | Allen Bradley | Pcs | 16568000 | 0
4 | Combo 6Pt 24 VDC Snk/Srn In, 4Pt VAC/VDC Relay Out | 1769-IQ6XOW4 | Allen Bradley | Pcs | 3572000 | 0
5 | Micro850 controller, 14 -24 DC/v AC Input . 10-24 V DC Source Output Conroller | 2080-LC50-24QBB | Allen Bradley | Pcs | 6718400 | 0
6 | 4-Channel Analog , 12 Bit Isolated Voltage/Current Output | 2085-OF4 | Allen Bradley | Pcs | 3374400 | 0
7 | Expansion I/O End Cap/Bus Terminator | 2085-ECR | Allen Bradley | Pcs | 231040 | 0
8 | Stratix 2000 5 Port Unmanaged Switch | 1783-US5T | Allen Bradley | Pcs | 1808800 | 0
9 | Stratix 2000 8 Port Unmanaged Switch | 1783-US8T | Allen Bradley | Pcs | 2477600 | 0
10 | Cable Multicore 3x35mm | YSLY-JZ | SMI | M | 0 | 0
11 | Cable Multicore 3x16mm | YSLY-JZ | SMI | M | 0 | 0
12 | Cable Multicore 3x6mm | YSLY-JZ | SMI | M | 0 | 0
13 | Cable Multicore 3x2,5mm | YSLY-JZ | SMI | M | 0 | 0
14 | Cable Multicore 3x1,5mm | YSLY-JZ | SMI | M | 0 | 0
15 | Cable Multicore 14x1,5mm | YSLYCY-JZ | SMI | M | 0 | 0
16 | Cable Multicore 20x1,5mm | YSLYCY-JZ | SMI | M | 0 | 0
17 | Cable Multicore 30x1,5mm | YSLYCY-JZ | SMI | M | 0 | 0
18 | Cable Multicore 3x1,5mm | YSLYCY-JZ | SMI | M |  | 0
19 | Cable Ethernet Cat 6 |  | Belden | Box | 1900000 | 0
20 | Cable 4 Core single mode Outdoor Direct Buried, Double Jacket 9/125um |  |  | M | 0 | 0
21 | PC Desktop Spec: 1. Prosesor: Intel Core i7-8700 2. Ram: 8GB DDR4 3. HDD: 1TB 4. Windows 10 Pro 5. Monitor 24" 6. Antivirus Kaspersky |  | dell | Lot | 17500000 | 0
22 | Software Intouch 2017 Runtime 1K Without I/O |  |  | pcs | 36500000 | 0
23 | PC Desktop Server Spec: 1. Prosesor: Xeon E3-1220 v6 2. Ram: 16GB DDR4 3. HDD: 1TB 4. Windows Server 5. Monitor 24" 6. Antivirus Kaspersky |  | dell | Pcs | 28000000 | 0
24 | Software Intouch 2017 And DA Server |  |  | Pcs | 438000 | 0
25 | Printer Dot Matrix |  |  | Pcs | 0 | 0
26 | Software Intouch 2017 Runtime 1K Without I/O |  |  | Pcs | 36500000 | 0
27 | Software Intouch 2017 Read Only 60K tag Without RDS |  |  | Pcs | 18177000 | 0
28 | UPS Eaton E Series DX 3000 VA |  |  | Pcs | 0 | 0
29 | Pipa Tubing Stainless Steel 304, OD 8mm |  |  | M | 0 | 0
30 | Panel Box MS H600xW400xD250 |  |  | Pcs | 0 | 0
31 | Circuit breaker Easypact EZC250H - TMD - 125 A - 2 poles 2d | EZC250H2125 | Schneider | Pcs | 1843600 | 0
32 | IC60N - miniature circuit breaker - 2P - 63A - C curve | A9F74263 | Schneider | Pcs | 552200 | 0
33 | IC60N - miniature circuit breaker - 2P - 6A - C curve | A9F74206 | Schneider | Pcs | 337150 | 0
34 | Cable 6mm Merah |  | Federal | Roll | 0 | 0
35 | Cable 6mm Biru |  | Federal | Roll | 0 | 0
36 | Skun Ring 16mm |  |  | Pcs | 0 | 0
37 | Skun Y 16mm |  |  | Pcs | 0 | 0
38 | Skun Ferules 16mm |  |  | Pcs | 0 | 0
39 | Skun Ferules 6mm |  |  | Pcs | 0 | 0
40 | Skun Ferules 2,5mm |  |  | Pcs | 0 | 0
41 | Skun Ferules 1,5mm |  |  | Pcs | 0 | 0
42 | Panel Box MS H600xW400xD250 |  |  | Pcs | 0 | 0
43 | IC60N - miniature circuit breaker - 2P - 32A - C curve | A9F74232 | Schneider | Pcs | 451550 | 0
44 | IC60N - miniature circuit breaker - 2P - 6A - C curve | A9F74206 | Schneider | Pcs | 337150 | 0
45 | Panel Box MS H400xW300xD250 |  |  | Pcs | 0 | 0
46 | Feed-through terminal, Screw connection, 2.5 mm², 800 V, 24 A, dark beige | 1020000000 | Weidmuller | Pcs | 0 | 0
47 | Panel Box MS H600xW400xD250 |  |  | Pcs | 0 | 0
48 | IC60N - miniature circuit breaker - 2P - 4A - C curve | A9F74204 | Schneider | Pcs | 0 | 0
49 | IC60N - miniature circuit breaker - 1P - 4A - C curve | A9F74104 | Schneider | Pcs | 0 | 0
50 | DIN-rail power supplies for 1-phase systems 24VDC, 5A | CS5.241 | PULS | Pcs | 0 | 0
51 | DIN socket iPC -2P+E -16A-250VAC-NFC15100 -french std-with volt.pres.indic.light | A9A15307 | Schneider | Pcs | 0 | 0
52 | Ethernet-to-Fiber Media Converters | IMC-21 Series | Moxa | Pcs | 0 | 0
53 | HMI Beijer 7" X2 BASE7 |  | BEIJER | Pcs | 0 | 0
54 | Feed-through terminal, Screw connection, 2.5 mm², 800 V, 24 A, dark beige | 1020000000 | Weidmuller | Pcs | 0 | 0
55 | Feed-through terminal, Double-tier terminal, Screw connection, 2.5 mm², 400 V, 24 A, dark beige | 1021500000 | Weidmuller | Pcs | 0 | 0
56 | W-Series, Initiator/actuator terminal, Rated cross-section: 2.5 mm², Screw connection | 1784180000 | Weidmuller | Pcs | 0 | 0
57 | PE terminal, Screw connection, 2.5 mm², 300 A (2.5 mm²), green / yellow | 1020000000 | Weidmueller | Ea | 0 | 0
58 | Roset 4 Core + Adapter SC FTTH/Fiber Optical Terminal Box/OTB FO/Optik |  |  | Pcs | 0 | 0
59 | Patchcord SC-SC Simplex Single Mode [1--5Meter] |  |  | Pcs | 0 | 0
60 | Cable 2,5mm Biru |  | Federal | Roll | 0 | 0
61 | Cable 2,5mm Biru muda |  | Jembo | Roll | 0 | 0
62 | Cable 2,5mm merah |  | Federal | Roll | 0 | 0
63 | Cable 1,5mm Biru |  | Federal | Roll | 0 | 0
64 | Cable 1,5mm Biru muda |  | Jembo | Roll | 0 | 0
65 | Cable 1,5mm merah |  | Federal | Roll | 0 | 0
66 | Cable 0,75mm Biru |  | Federal | Roll | 0 | 0
67 | Cable 0,75mm Biru muda |  | Jembo | Roll | 0 | 0
68 | Cable 0,5mm Biru |  | Federal | Roll | 0 | 0
69 | Skun Ferules 4mm |  |  | Pcs | 0 | 0
70 | Skun Ferules 2,5mm |  |  | Pcs | 0 | 0
71 | Skun Ferules 1,5mm |  |  | Pcs | 0 | 0
72 | Skun Ferules 0,75mm |  |  | Pcs | 0 | 0
73 | Skun Ferules 0,5mm |  |  | Pcs | 0 | 0
74 | Panel Box MS H600xW500xD250 |  |  | Pcs | 0 | 0
75 | IC60N - miniature circuit breaker - 2P - 4A - C curve | A9F74204 | Schneider | Pcs | 0 | 0
76 | IC60N - miniature circuit breaker - 1P - 4A - C curve | A9F74104 | Schneider | Pcs | 0 | 0
77 | DIN-rail power supplies for 1-phase systems 24VDC, 5A | CS5.241 | PULS | Pcs | 0 | 0
78 | DIN socket iPC -2P+E -16A-250VAC-NFC15100 -french std-with volt.pres.indic.light | A9A15307 | Schneider | Pcs | 0 | 0
79 | Ethernet-to-Fiber Media Converters | IMC-21 Series | Moxa | Pcs | 0 | 0
80 | Cisco ASA 5500-X with FirePOWER Services 8Port |  | Cisco | Pcs | 0 | 0
81 | Feed-through terminal, Screw connection, 2.5 mm², 800 V, 24 A, dark beige | 1020000000 | Weidmuller | Pcs | 0 | 0
82 | Feed-through terminal, Double-tier terminal, Screw connection, 2.5 mm², 400 V, 24 A, dark beige | 1021500000 | Weidmuller | Pcs | 0 | 0
83 | W-Series, Initiator/actuator terminal, Rated cross-section: 2.5 mm², Screw connection | 1784180000 | Weidmuller | Pcs | 0 | 0
84 | PE terminal, Screw connection, 2.5 mm², 300 A (2.5 mm²), green / yellow | 1020000000 | Weidmueller | Ea | 0 | 0
85 | Roset 4 Core + Adapter SC FTTH/Fiber Optical Terminal Box/OTB FO/Optik |  |  | Pcs | 0 | 0
86 | Patchcord SC-SC Simplex Single Mode [1--5Meter] |  |  | Pcs | 0 | 0
87 | Connector RJ45 |  |  | Pcs | 0 | 0