## Sheet1
No | Description | Type | Mfg | Unit | Price | Disc
1 | Compact Logix 5370 L3 Controller , Dual Ethernet w/DLR , 1 MB Memory , 8 I/O Expansion, 16 Ethernet IP Nodes , Controller Are Shipped with 1 GB SD Card and Support up to 2 GB Card | 1769-L30ER | Allen Bradley | Pcs | 0 | 0
2 | Power Supply 120/240 VAC Input 2 Amp @ 5 VDC Output | 1769-PA 2 | Allen Bradley | Pcs | 0 | 0
3 | 16 Channel Compact High- density Analaog Current Input Module | 1769-IF16C | Allen Bradley | Pcs | 0 | 0
4 | Combo 6Pt 24 VDC Snk/Srn In, 4Pt VAC/VDC Relay Out | 1769-IQ6XOW4 | Allen Bradley | Pcs | 0 | 0
5 | Micro850 controller, 14 -24 DC/v AC Input . 10-24 V DC Source Output Conroller | 2080-LC50-24QBB | Allen Bradley | Pcs | 0 | 0
6 | 4-Channel Analog , 12 Bit Isolated Voltage/Current Output | 2085-OF4 | Allen Bradley | Pcs | 0 | 0
7 | Expansion I/O End Cap/Bus Terminator | 2085-ECR | Allen Bradley | Pcs | 0 | 0
8 | Stratix 2000 5 Port Unmanaged Switch | 1783-US5T | Allen Bradley | Pcs | 0 | 0
9 | Stratix 2000 8 Port Unmanaged Switch | 1783-US8T | Allen Bradley | Pcs | 0 | 0
10 | Cable Multicore 3x35mm | YSLY-JZ | SMI | M | 0 | 0
11 | Cable Multicore 3x16mm | YSLY-JZ | SMI | M | 0 | 0
12 | Cable Multicore 3x6mm | YSLY-JZ | SMI | M | 0 | 0
13 | Cable Multicore 3x2,5mm | YSLY-JZ | SMI | M | 0 | 0
14 | Cable Multicore 3x1,5mm | YSLY-JZ | SMI | M | 0 | 0
15 | Cable Multicore 14x1,5mm | YSLYCY-JZ | SMI | M | 0 | 0
16 | Cable Multicore 20x1,5mm | YSLYCY-JZ | SMI | M | 0 | 0
17 | Cable Multicore 30x1,5mm | YSLYCY-JZ | SMI | M | 0 | 0
18 | Cable Multicore 3x1,5mm | YSLYCY-JZ | SMI | M | 0 | 0
19 | Cable Ethernet Cat 6 |  | Belden | Box | 0 | 0
20 | Cable 4 Core single mode Outdoor Direct Buried, Double Jacket 9/125um |  |  | M | 0 | 0