## Sheet1
No | Description | Type | Mfg | Unit | Price | Disc
1 | Kepserver Enterprise | 9301-OPCSRVENM | Allen-Bradley | pcs | 29880000 | 0%
2 | Studio 5000 Logix Designer Professional Edition | 9324-RLD700NXENM | Allen-Bradley | pcs | 102360000 | 0%
3 | FactoryTalk View SE Station 100 Display | 9701-VWSB100AENM | Allen-Bradley | Ea | 26883040 | 0%
4 | PC Socket 2 pole + neutral 10/16A 250V din Rail | A9A15307 | Schneider | Pcs | 342300 | 35%
5 | IC60N - miniature circuit breaker - 1P - 2A - C curve | A9F74102 | Schneider | Ea | 133000 | 35%
6 | IC60N - miniature circuit breaker - 1P - 4A - C curve | A9F74104 | Schneider | Ea | 133000 | 35%
7 | MCB Acti 9 Ic60 1P - 10A | A9F74110 | Schneider | Pcs | 116025 | 35%
8 | IC60N - miniature circuit breaker - 1P - 40A - C curve | A9F74140 | Schneider | Ea | 151000 | 35%
9 | IC60N - miniature circuit breaker - 2P - 2A - C curve | A9F74202 | Schneider | Ea | 367500 | 35%
10 | IC60N - miniature circuit breaker - 2P - 4A - C curve | A9F74204 | Schneider | Ea | 367500 | 35%
11 | IC60N - miniature circuit breaker - 2P - 10A - C curve | A9F74210 | Schneider | Ea | 306500 | 35%
12 | IC60N - miniature circuit breaker - 3P - 6A - C curve | A9F74306 | Schneider | Ea | 465500 | 35%
13 | Acti 9 - fuse-disconnector STI - 1 pole - 10 A - for fuse 8.5 x 31.5 mm | A9N15635 | Schneider | Ea | 88500 | 35%
14 | Connection sub-base ABE7 - for distribution of 4 thermocouples | ABE7CPA412 | Schneider | Ea | 4729000 | 35%
15 | Pilot Lamp LED 22mm 24VDC Green | AD22-22DS | Local | Pcs | 7500 | 0%
16 | EtherNet/IP to AB RIO or DH+ gateway | AN-X2-AB-DHRIO | Allen-Bradley | pcs | 32280000 | 0%
17 | Rack X80 - 12 slots - Ethernet backplane | BMEXBP1200 | Schneider | Ea | 11193000 | 35%
18 | Isolated analog input module X80 - 8 inputs - high speed | BMXAMI0810 | Schneider | Ea | 10275000 | 35%
19 | Analog input module X80 - 8 inputs - temperature | BMXART0814 | Schneider | Ea | 13731000 | 35%
20 | Power supply module X80 - 100..240 V AC - 36 W | BMXCPS3500 | Schneider | Ea | 9313000 | 35%
21 | Discrete output module X80 - 16 outputs - 24 V DC positive | BMXDDO1602 | Schneider | Ea | 3599000 | 35%
22 | Cord set - 40-way terminal - SUB-D25 connector - for X80 I/O - 5 m | BMXFCA502 | Schneider | Ea | 2591000 | 35%
23 | Ethernet module M340 - flash memory card - 1 x RJ45 10/100 | BMXNOE0100 | Schneider | Ea | 17424000 | 35%
24 | Processor module M340 - max 1024 discrete + 256 analog I/O - Modbus | BMXP342000 | Schneider | Ea | 13367000 | 35%
25 | LED Module Power : 40 LED Chip : Seoul SMD 3030 (60pcs) CRI > 70 Ra Luminous Flux : 140LM/W Color Temperature : 2700-6500K LED Lifespan : 50000h Lens : 140*70 Rectangular shape Type II : Professional optical LENS for road lighting Li-ion (Grade A) Battery : 11.1V 52.8AH Poly solar module : 120W 18V Size (mm) : 1010*800*30 Solar panel conversion efficiency > 18% Solar panel lifespan : 25 years without solar cell frame PIR sensor Controller : IP67 smart, controller, set for 5 time periods Housing : Alumunium + PC LENS Housing color : Silver gray Warranty : 3 years. 1% additional warranty in form of goods | BST-STL-40W-SO | LED LIGHTING | Unit | 4500000 | 0%
26 | Cloud HMI | CMT-SVR-100 | Weintek | Pcs | 4550000 | 30%
27 | Wireless HMI (Blom diPO) | CMT-SVR-200 | Weintek | Pcs | 8600000 | 30%
28 | TeSys fuse-disconnector - fuse cartridge 8.5 x 31.5 mm - aM 2 A -w/o indication | DF2BA0200 | Schneider | Box | 171364 | 35%
29 | TeSys fuse-disconnector - fuse cartridge 8.5 x 31.5 mm - aM 4 A - w/o indication | DF2BA0400 | Schneider | Box | 198636 | 35%
30 | Drivers IGS- Industrial Gateway Server for Basic Points 253 Additional IGS Protocols IOT Gateway plug in No Tags | DR-G00P253V0 | GE | Pcs | 20424000 | 40%
31 | Circuit breaker Easypact EZC100H - TMD - 60 A - 2 poles 2d | EZC100H2060 | Schneider | Ea | 812000 | 35%