## Sheet1
No | Description | Type | Mfg | Unit | Price | Disc
1 | DOUBLE TAPE 3M |  | 3M | PCS | 30000 | 0%
2 | Solenoid valve Blanking Plate | P-200MR2 | Airtec | Pcs | 20000 | 20%
3 | Tuning Elbow Male Connector dia 1/2" 10mm | PL1004D | Airtec | Pcs | 67000 | 20%
4 | Tubing Elbow Connector 1/4" 10mm(bless) | PL1002B | Airtech | pcs | 45000 | 20%
5 | Filter Regulator 1/2" | GFR30015F3G | Airtech | pcs | 900000 | 20%
6 | Tubing male Connector 1/4" 10mm | PC602D | Airtech | pcs | 30000 | 20%
7 | Manifold 3 Station | 200M3F | Airtech | pcs | 310000 | 20%
8 | Manifold 8 Station | 200M8F | Airtech | pcs | 680000 | 20%
9 | Tubing Hose 6mm | US98A06004010MBU | Airtech | M | 13000 | 20%
10 | Solenoid Valve 1/4" 5/2-Way 24Vdc | 4V21008BG | Airtech | pcs | 600000 | 20%
11 | Tubing Universal Silencer 1/4" | BSL02 | Airtech | pcs | 37500 | 20%
12 | CLX Empty Slot Filler for 1756 Chassis | 1756-N2 | Allen-Bradley | pcs | 281000 | 0%
13 | CLX Screw Clamp Block 20 Pin NemA | 1756-TBNH | Allen-Bradley | pcs | 684000 | 0%
14 | CLX 36 Pin Screw Clamp Block With Standard Housing | 1756-TBCH | Allen-Bradley | pcs | 847000 | 0%
15 | Conversion Module for 1771 to 1756 I/O Field Wiring Conversion System | 1492-CM1771-LA003 | Allen-Bradley | pcs | 1272000 | 0%
16 | Conversion Cable for 1771 to 1756 I/O Field Wiring Conversion System, 0.5 meters | 1492-CONACAB005E8C | Allen-Bradley | pcs | 1283000 | 0%
17 | Conversion Module for 1771 to 1756 I/O Field Wiring Conversion System | 1492-CM1771-LD006 | Allen-Bradley | pcs | 1283000 | 0%
18 | Conversion Module for 1771 to 1756 I/O Field Wiring Conversion System | 1492-CM1771-LD003 | Allen-Bradley | pcs | 1350000 | 0%
19 | Conversion Module for 1771 to 1756 I/O Field Wiring Conversion System | 1492-CM1771-LD009F | Allen-Bradley | pcs | 1350000 | 0%
20 | Conversion Module for 1771 to 1756 I/O Field Wiring Conversion System | 1492-CM1771-LA002 | Allen-Bradley | pcs | 1362000 | 0%
21 | Conversion Module for 1771 to 1756 I/O Field Wiring Conversion System | 1492-CM1771-LA001 | Allen-Bradley | pcs | 1362000 | 0%
22 | Industrial Switch, Unmanaged, 5 Ports, RJ45 Copper 24VDC | 1783-US5T | Allen-Bradley | Pcs | 1402200 | 0%
23 | Conversion Cable for 1771 to 1756 I/O Field Wiring Conversion System, 0.5 meters | 1492-CONCAB005X | Allen-Bradley | pcs | 1497000 | 0%
24 | Conversion Module for 1771 to 1756 I/O Field Wiring Conversion System | 1492-CM1771-LD011 | Allen-Bradley | pcs | 1497000 | 0%
25 | Mounting Assembly for 1771 to 1756 I/O Field Wiring Conversion System, 7 or 10 slot chassis | 1492-MUA2B-A7-A10 | Allen-Bradley | pcs | 1677000 | 0%
26 | Flex I/O Terminal Base | 1794-TB3 | Allen-Bradley | pcs | 1859000 | 0%
27 | Conversion Cable for 1771 to 1756 I/O Field Wiring Conversion System, 0.5 meters | 1492-CONACAB005D | Allen-Bradley | pcs | 1924000 | 0%
28 | Conversion Cable for 1771 to 1756 I/O Field Wiring Conversion System, 0.5 meters | 1492-CONACAB005A | Allen-Bradley | pcs | 1924000 | 0%
29 | Industrial Switch, Unmanaged, 8 Ports, RJ45 Copper 24VDC | 1783-US8T | Allen-Bradley | pcs | 2101000 | 0%
30 | Mounting Assembly for 1771 to 1756 I/O Field Wiring Conversion System, 13 or 17 slot chassis | 1492-MUA4-A13-A17 | Allen-Bradley | pcs | 2183000 | 0%
31 | Conversion Cable for 1771 to 1756 I/O Field Wiring Conversion System, 0.5 meters | 1492-CONCAB005Y | Allen-Bradley | pcs | 2385000 | 0%
32 | Conversion Cable for 1771 to 1756 I/O Field Wiring Conversion System, 0.5 meters | 1492-CONCAB005Z | Allen-Bradley | pcs | 2385000 | 0%
33 | Flex I/O Digital Inputs 16 channel | 1794-IB16 | Allen-Bradley | pcs | 2940000 | 0%
34 | Conversion Cable for 1771 to 1756 I/O Field Wiring Conversion System, 0.5 meters | 1492-C005005XL | Allen-Bradley | pcs | 3600000 | 0%
35 | Flex I/O Digital Outputs 16 channel | 1794-OB16 | Allen-Bradley | pcs | 4190000 | 0%
36 | CLX Digital Input 32 Pts 10-31 VDC (36 Pin) | 1756-IB32 | Allen-Bradley | pcs | 4683000 | 0%
37 | CLX Digital Input 16 Pts 159-265 VAC Isolated (36 Pin) | 1756-IM16I | Allen-Bradley | pcs | 5954000 | 0%
38 | CLX 1756 Chassis 10 slots | 1756-A10 | Allen-Bradley | pcs | 6101000 | 0%
39 | CLX Digital Output 16 Pts N.O. Isolated Relay (36 Pin) | 1756-OW16I | Allen-Bradley | pcs | 6195000 | 0%
40 | CLX Digital Output 16 Pts 74-265 VAC (20 Pin) | 1756-OA16 | Allen-Bradley | pcs | 6447000 | 0%
41 | CLX Digital Output 32 Pts 10-31 VDC (36 Pin) | 1756-OB32 | Allen-Bradley | pcs | 6626000 | 0%
42 | Flex I/O Ethernet Adapter Module | 1794-AENT | Allen-Bradley | pcs | 7279000 | 0%
43 | CLX 1756 Chassis 13 slots | 1756-A13 | Allen-Bradley | pcs | 7340000 | 0%
44 | Flex I/O Analog Outputs | 1794-OE4 | Allen-Bradley | pcs | 8432000 | 0%
45 | CLX 1756 Chassis 17 slots | 1756-A17 | Allen-Bradley | pcs | 8631000 | 0%
46 | CLX 1756 Chassis 4 slots | 1756-A4 | Allen-Bradley | pcs | 8631000 | 0%
47 | CLX Power Supply, 85-265 VAC (5V @ 10 Amp) | 1756-PA72 | Allen-Bradley | pcs | 9009000 | 0%
48 | Flex I/O Analog Inputs | 1794-IE8 | Allen-Bradley | pcs | 9324000 | 0%
49 | CLX High Speed Counter, 2 Channel / 4 Output (36 Pin) | 1756-HSC | Allen-Bradley | pcs | 10479000 | 0%
50 | CLX High Speed Counter, 2 Channel / 4 Output (36 Pin) | 1756-HSC | Allen-Bradley | pcs | 10479000 | 0%
51 | CLX Power Supply, 85-265V AC (5V @ 13 Amp) | 1756-PA75 | Allen-Bradley | pcs | 11025000 | 0%
52 | CLX Analog Input, Current/Voltage 16 Pts (36 Pin) | 1756-IF16 | Allen-Bradley | pcs | 15225000 | 0%
53 | CLX DH+/RIO Bridge/Scanner Module 2 Channels | 1756-DHRIO | Allen-Bradley | pcs | 21525000 | 0%
54 | SLC 500 Ethernet / IP Adapter | 1747-AENTR | Allen-Bradley | Pcs | 25189000 | 0%
55 | CLX Analog Output, Current/Voltage, 8 Isolated Points (36 Pin) | 1756-OF8I | Allen-Bradley | pcs | 25725000 | 0%
56 | FactoryTalk View SE Station 100 Display | 9701-VWSB100AENM | Allen-Bradley | pcs | 26883040 | 0%
57 | EtherNet 10-100M Bridge Module | 1756-EN2T | Allen-Bradley | pcs | 28575000 | 0%
58 | KEPserver Enterprise | 9301-OPCSRVENM | Allen-Bradley | pcs | 29880000 | 0%
59 | HMI Graphic Terminal, Standard Model 6,5 in, Display, TFT Color, Touchscreen, Single Ethernet, 18-30 VDC | 2711P-T7C21D8S | Allen-Bradley | Pcs | 35583108 | 0%
60 | Studio 5000 Logix Designer Professional Edition | 9324-RLD700NXENM | Allen-Bradley | pcs | 102360000 | 0%
61 | CLX Logix5583E Controller With 10 Mbytes Memory | 1756-L83E | Allen-Bradley | pcs | 121500000 | 0%
62 | Distribution Block, Mini, 115A, 3P, Aluminum | 1492-PDM3141 | Allen-Bradley | Pcs | 285000 | 0%
63 | Temperature Controller | TK4S14RC/14CC | Autonic | pcs | 720000 | 0%
64 | Temperature Controller - current module | TK4S-12RN | Autonics | Pcs | 609000 | 0%
65 | HMI Beijer 10" | X2Base10 | Beijer | Unit | $580,00 | 0%
66 | HMI Beijer 7" | X2Base7 | Beijer | Unit | $295,00 | 0%
67 | Cable ethernet Cat 5 | Cat5 | Belden | Roll | 1400000 | 0%
68 | Cable Ethernet cat 6 | Cat6 | Belden | Roll | 1850000 | 0%
69 | Cable Gland Ex Prof untuk Flexible metal conduit 1/2" |  | CABTEK | Pcs | 130000 | 0%
70 | Cable Gland Ex Prof untuk Flexible metal conduit 1" |  | CABTEK | Pcs | 350000 | 0%
71 | Cable Gland Ex Prof untuk Flexible metal conduit 1" |  | CABTEK | Pcs | 350000 | 0%
72 | Cable Gland Ex Prof untuk Flexible metal conduit 1/2" |  | CABTEK | Pcs | 130000 | 0%
73 | Pipa Conduit Clamp 20mm. |  | CLIPSAL | Pcs | 750 | 0%
74 | Pipa Conduit 20mm 3meter/batang |  | CLIPSAL | Pcs | 12000 | 0%
75 | Pipa PVC 20mm Putih 3meter/batang |  | CLIPSAL | Btg | 12000 | 0%
76 | Pipa Conduit Shock 20mm. |  | CLIPSAL | Pcs | 750 | 0%
77 | Panel Box 2000Hx800Wx600D |  | Cometal | pcs | 12800000 | 15%
78 | Panel Box 400Hx300Wx200D |  | Cometal | pcs | 1000000 | 15%
79 | Panel Box 600Hx400Wx250D |  | Cometal | pcs | 1450000 | 15%
80 | Panel Box 800Hx600Wx250D |  | Cometal | pcs | 2200000 | 15%
81 | Cable 3x0.75mm2 | YSLY-JZ | Delta Cable | Meter | 5000 | 0%
82 | Cable 3x1.5mm2 | YSLY-JZ | Delta Cable | Meter | 9500 | 0%
83 | Cable 7x0.75mm2 | YSLY-JZ | Delta Cable | Meter | 12000 | 0%
84 | Cable 34x0.75mm2 | YSLY-JZ | Delta Cable | Meter | 55500 | 0%
85 | Cable 1x0.5mm2 (blue) | NYAF | Federal | Roll | 110000 | 0%
86 | Cable 1x0.75mm2 (black) | NYAF | Federal | Roll | 119000 | 0%
87 | Cable 1x0.75mm2 (light blue) | NYAF | Federal | Roll | 136000 | 0%
88 | Cable 1x0.75mm2 (blue) | NYAF | Federal | Roll | 119000 | 0%
89 | Cable 1x0.75mm2 (Green/yellow) | NYAF | Federal | Roll | 149000 | 0%
90 | Cable 1x0.75mm2 (Light blue) | NYAF | Federal | Roll | 149000 | 0%
91 | Cable 1x1.5mm2 (Black) | NYAF | Federal | Roll | 203000 | 0%
92 | Cable 1x1.5mm2 (blue) | NYAF | Federal | Roll | 203000 | 0%
93 | Cable 1x1.5mm2 (red) | NYAF | Federal | roll | 203000 | 0%
94 | Cable 1x1.5mm2 (Light blue) | NYAF | Federal | Roll | 203000 | 0%
95 | Cable 1x1mm2 (red) | NYAF | Federal | roll | 150500 | 0%
96 | Cable 1x2.5mm2 (Black) | NYAF | Federal | Roll | 336000 | 0%
97 | Cable 1x2.5mm2 (light blue) | NYAF | Federal | Roll | 384000 | 0%
98 | Cable 1x2.5mm2 (blue) | NYAF | Federal | Roll | 431000 | 0%
99 | Cable 1x2.5mm2 (blue) | NYAF | Federal | Pcs | 336000 | 0%
100 | Cable 1x2.5mm2 (Merah) | NYAF | Federal | Roll | 431000 | 0%
101 | Cable 1x2.5mm2 (red) | NYAF | Federal | roll | 336000 | 0%
102 | Cable 1x4mm2 (Black) | NYAF | Federal | Roll | 525000 | 0%
103 | Cable 1x4mm2 (blue) | NYAF | Federal | Roll | 720500 | 0%
104 | Cable 1x4mm2 (red) | NYAF | Federal | Roll | 525000 | 0%
105 | Cable 1x50mm2 (Black) | NYAF | Federal | Meter | 66913 | 0%
106 | Cable PE 1,5mm2 (Yellow/Green) | NYAF | Federal | Roll | 203000 | 0%
107 | Cable PE 2,5mm2 (Yellow/Green) | NYAF | Federal | Roll | 384000 | 0%
108 | Cable PE 4mm2 (Yellow/Green) | NYAF | Federal | Roll | 590000 | 0%
109 | Fan 230VAC 172 x 172 |  | Fort | Pcs | 175000 | 0%
110 | Fan Fillter 204 x 204 |  | Fort | Pcs | 95000 | 0%
111 | IGS- Industrial Gateway Server for Basic Points 253 Additional IGS Protocols IOT Gateway plug in No Tags | DR-G00P253V0 | GE | Pcs | 20424000 | 40%
112 | SIRENE/BUZZER with lamp outdor satpam. 220VAC |  | hanyoung | Pcs | 30000 | 0%
113 | Push Button Green | 0105-A1-Green | Helon | pcs | 363000 | 0%
114 | Push Button Red | 0105-A1-Red | Helon | pcs | 363000 | 0%
115 | PC CORE I5 RAM 8GB + 19 INCH | HPTDT4MF27PA | HP PRO 280 G4 | Pcs | 9475000 | 0%
116 | Cable 1x0.75mm2 (light blue) | NYAF | Jembo | Roll | 149000 | 0%
117 | Cable 1x1.5mm2 (light blue) | NYAF | Jembo | Roll | 266500 | 0%
118 | Cable 1x10mm2 (Black) | NYAF | Jembo | Meter | 17500 | 0%
119 | Cable 1x1.5mm2 (black) | NYAF | Jembo | Roll | 203000 | 0%
120 | Cable 1x1.5mm2 (white) | NYAF | Jembo | Roll | 203000 | 0%
121 | Cable 1x1mm2 (black) | NYAF | Jembo | Roll | 150500 | 0%
122 | Cable 1x1mm2 (white) | NYAF | Jembo | Roll | 150500 | 0%
123 | Cable 1x2.5mm2 (black) | NYAF | Jembo | Roll | 336000 | 0%
124 | Cable 1x2.5mm2 (white) | NYAF | Jembo | Roll | 336000 | 0%
125 | Cable 1x2.5mm2 (light blue) | NYAF | Jembo | Roll | 336000 | 0%
126 | Cable 1x2.5mm2 (Black) | NYAF | Jembo | Roll | 384000 | 0%
127 | Cable 1x4mm2 (light blue) | NYAF | Jembo | Roll | 525000 | 0%
128 | Cable 1x4mm2 (Black) | NYAF | Jembo | Roll | 590000 | 0%
129 | Cable 1x50mm2 (Black) | NYAF | Jembo | Meter | 82000 | 0%
130 | Cable 2x0,75mm22 | NYMHY | Jembo | Meter | 3560 | 0%
131 | Cable PE 1x1mm2 (Green/yellow) | NYAF | Jembo | Roll | 190000 | 0%
132 | Cable PE 1x4mm2 (Green/yellow) | NYAF | Jembo | Roll | 525000 | 0%
133 | Cable 1x25mm2 (black) | NYAF | Jembo | Meter | 33110 | 0%
134 | Cable 1x50mm2 (black) | NYAF | Jembo | Meter | 66913 | 0%
135 | Cable 1x70mm2 (black) | NYAF | Jembo | Meter | 97200 | 0%
136 | Cable 3x1.5mm22 | NYFGbY | Jembo | Meter | 20000 | 0%
137 | Holesaw 22 |  | Jepang | Pak | 245000 | 0%
138 | Holesaw 22 |  | Jepang | Pcs | 340000 | 0%
139 | Cable Duct W100xH100 |  | Klemsam | Pcs | 220000 | 0%
140 | Cable Duct W48xH100 |  | Klemsam | Pcs | 110000 | 0%
141 | Cable Duct W70xH100 |  | Klemsam | Pcs | 144000 | 0%
142 | Cable Duct W33xH100 |  | KSS | pcs | 123000 | 0%
143 | Cable Duct W40xH40 |  | KSS | Btg | 31000 | 0%
144 | Cable Duct W45xH65 |  | KSS | pcs | 100000 | 0%
145 | Cable Duct W48xH100 |  | KSS | Pcs | 183000 | 0%
146 | Cable Duct W65x65XH100 |  | KSS | pcs | 91000 | 0%
147 | Cable Duct W65xH65 |  | KSS | Pcs | 49500 | 0%
148 | Cable Duct W65xH65 |  | KSS | pcs | 107000 | 0%
149 | Cable Duct W70xH100 |  | KSS | pcs | 176000 | 0%
150 | Cable Duct W75xH100 |  | KSS | pcs | 220000 | 0%
151 | Cable Ties 100 |  | KSS | Pak | 6000 | 0%
152 | Cable Ties 150 |  | KSS | Pak | 12500 | 0%
153 | Cable Ties 200 |  | KSS | Pak | 20000 | 0%
154 | Cable Ties 250 |  | KSS | Pak | 30000 | 0%
155 | KSS MARKER TUBE 4.5 mm White |  | KSS | Roll | 85000 | 0%
156 | KSS Mini cable tie holder 12mm x 12mm |  | KSS | Pcs | 850 | 0%
157 | KSS Movable Bushing | KG-045 | KSS | Pcs | 85000 | 0%
158 | KSS O Type Marker Tube | OMT-3.2 | KSS | Roll | 590000 | 0%
159 | KSS O Type Marker Tube | OMT-5.5 | KSS | Roll | 600000 | 0%
160 | KSS O Type Marker Tube | OMT-4.5 | KSS | Roll | 830000 | 0%
161 | Skun Perulles 0.75mm |  | KSS | Pcs | 110 | 0%
162 | Skun Perulles 1.5mm |  | KSS | Pcs | 145 | 0%
163 | Skun Perulles 10mm |  | KSS | Pcs | 400 | 0%
164 | Skun Perulles 2.5mm |  | KSS | Pcs | 200 | 0%
165 | Skun Perulles 4mm |  | KSS | Pcs | 320 | 0%
166 | Skun Perulles 6mm |  | KSS | Pcs | 360 | 0%
167 | Skun Y 1.5mm |  | KSS | Pcs | 180 | 0%
168 | Skun Y 2.5mm |  | KSS | Pcs | 220 | 0%
169 | Spiral Wrapping Band 12mm |  | KSS | Pack | 45000 | 0%
170 | Tie Mount | HC-101 | KSS | Pack | 80000 | 0%
171 | Gland cable 980.03 (6mm-12mm) | 98003 | Legrand | Pcs | 16000 | 0%
172 | Gland cable 980.05 (13mm-18mm) |  | Legrand | Pcs | 26000 | 0%
173 | Label machine Letatwin | LM550A | Letatwin | Pcs | 9300000 | 0%
174 | Busbar Cooper 80x5mm 4meter |  | Local | Pcs | 1772727 | 0%
175 | Busbar Copper 50x5mm 4meter |  | Local | Pcs | 1136363 | 0%
176 | Cable lug 0,75 sqmm |  | Local | Pcs | 130 | 0%
177 | Cable Maker 3.6-7.4 mm (angka 0 s.d 9) Camsco |  | Local | Pcs | 36000 | 0%
178 | Din Rail 35 x 7.5 x 1.5 x 2000 mm |  | Local | Btg | 55000 | 0%
179 | Limit Switch Door NO & NC |  | Local | Pcs | 72500 | 0%
180 | Panel Box 600Hx550Wx300D double layer |  | Local | Unit | 2750000 | 0%
181 | Panel Box MS 400Hx300Wx150D |  | Local | Pcs | 600000 | 0%
182 | Pilot Lamp LED 22mm 24VDC Green | AD22-22DS | Local | Pcs | 7500 | 0%
183 | Scanner Barcode Taffware USB Wireless | YK980 | Local | Pcs | 525000 | 0%
184 | Sewa Laptop Core i5 Ram8Gb | Utk 5hr @425rb | Local | Pcs | 425000 | 0%
185 | Skun Ferullus 0.5mm |  | Local | Pcs | 125 | 0%
186 | Skun Ferullus 1 mm |  | Local | Pcs | 150 | 0%
187 | Skun Ferullus 1.5mm |  | Local | Pcs | 175 | 0%
188 | Skun Ferullus 10 mm |  | Local | Pcs | 1000 | 0%
189 | Skun Ferullus 2.5 mm |  | Local | Pcs | 200 | 0%
190 | Skun Ferullus 25mm |  | Local | Pcs | 1000 | 0%
191 | Skun Ferullus 4mm |  | Local | Pak | 28500 | 0%
192 | Skun Ferullus 50 mm |  | Local | Pcs | 3000 | 0%
193 | Skun Ferullus 6 mm |  | Local | Pcs | 400 | 0%
194 | Skun Ferullus 70mm |  | Local | Pcs | 3500 | 0%
195 | Transformer 400/230 VAC 1000 VA |  | Local | Pcs | 650000 | 0%
196 | Custom Support Busbar |  | Lokal | Pcs | 200000 | 0%
197 | Ink ribbon letatwin Max LM-IR 50B | LM-IR 50B | MAX | Pcs | 230000 | 0%
198 | Mata Bor 4.5mm |  | Nachi | Pcs | 25000 | 0%
199 | Mata Bor 4.5mm |  | Nachi | Pak | 25000 | 0%
200 | Isolasi Hitam |  | Nito | Pak | 7500 | 0%
201 | Isolasi Hitam |  | Nitro | Pcs | 7500 | 0%
202 | Isolasi Hitam |  | Nitto | Pcs | 7500 | 0%
203 | Isolasi Hitam |  | Nitto | Pcs | 7500 | 0%
204 | Panel Box 100HX100WX250D | CV-107 | Nobi | Pcs | 643000 | 0%
205 | CJ1W Ethernet Module | CJ1W-ETN21 | Omron | Pcs | 8900000 | 0%
206 | CP1H CPU Unit with 24 Input, 16 Relay output, 24VDC power supply | CP1H-XA40DR-A | Omron | Pcs | 10732800 | 0%
207 | CP1W Adapter/Option board expansion module | CP1W-CIF01 | Omron | Pcs | 339840 | 0%
208 | CP1W Cable Peripheral | CS1W-CN226 | Omron | Pcs | 1221000 | 0%
209 | CP1W Cable Serial communication PLC to HMI | XW2Z-200T | Omron | Pcs | 691200 | 0%
210 | Exclusive Socket | PYF08A-E BY OMZ | Omron | Pcs | 17280 | 0%
211 | HMI NB7W 10" Omron | NB7W-TW01B | Omron | Pcs | 9741120 | 0%
212 | Power Supply 100-240VAC/ 24VDC 2,1A | S82K-05024 | Omron | Pcs | 817920 | 0%
213 | standard light, Standard light 14W, 230V |  | Philips | Pcs | 90000 | 0%
214 | Busbar Copper 10x100mm 4meter | 4PMCM101 | PM | Btg | 3852000 | 0%
215 | Busbar Copper 10x60mm 4meter | 4PMCM106 | PM | Btg | 2300500 | 0%
216 | Busbar Copper 5x50mm 4 meter | 4PMCM550 | PM | Btg | 963000 | 0%
217 | Busbar support | PM EL-270 | PM | Pcs | 62000 | 0%
218 | Busbar support | PM EL-270 | PM | Pcs | 62000 | 0%
219 | Gateway EtherNet/IP to AB RIO or DH+ | AN-X2-AB-DHRIO | Prosoft | pcs | 32280000 | 0%
220 | Gateway Modbus Master/Slave Enhanced Communication Module | MVI56E-MCM | Prosoft | pcs | 34080000 | 0%
221 | Power Supply 100-240VAC/ 24VDC 40A | QS40.241 | PULS | pcs | 9500000 | 15%
222 | Power Supply 100-240VAC/24VDC, 10A | PIC240.241C | PULS | Pcs | 1690000 | 0%
223 | Power Supply 100-240VAC/24VDC, 5A |  | PULS | Pcs | 1100000 | 0%
224 | Selector switch 2 posisi On - Off | M220-61192-219M1 | Salzer | Pcs | 70000 | 0%
225 | Selector switch 3 posisi Auto - Off - Manual | M220-61026-219M1 | Salzer | Pcs | 80000 | 0%
226 | Adapter GV2 - LC1D | GV2AF3 | Schneider | Pcs | 47775 | 35%
227 | Auxilary contact for GV2, 1NO+1NC, front | GVAE11 | Schneider | Pcs | 127050 | 35%
228 | Circuit breaker Compact NSX100F,3 poles, 100A, 36kA, TMD 32 A | LV429635 | Schneider | pcs | 1424000 | 35%
229 | Circuit breaker Compact NSX160F, 3 poles, 160A, 36kA, TMD trip unit | LV430630 | Schneider | pcs | 2746000 | 35%
230 | Circuit breaker Compact NSX250F, 3 poles, 250A, 36 kA, TMD trip unit | LV431630 | Schneider | pcs | 3059000 | 35%
231 | Circuit breaker Easypact EZC100H - TMD - 60 A - 2 poles 2d | EZC100H2060 | Schneider | pcs | 812000 | 35%
232 | ClimaSys forced vent. IP54, 300m3/h, 230V, with outlet grille and filter G2 | NSYCVF300M230PF | Schneider | pcs | 1800000 | 35%
233 | ClimaSys forced vent. IP54, 300m3/h, 230V, with outlet grille and filter G2 | NSYCVF300M230PF | Schneider | pcs | 1800000 | 35%
234 | Connection sub-base ABE7 - for distribution of 4 thermocouples | ABE7CPA412 | Schneider | pcs | 4729000 | 35%
235 | Contactor LC1-D 3P 12A 24VDC | LC1D12BD | Schneider | pcs | 778636 | 35%
236 | Contactor LC1-D 3P 9A 24VDC | LC1D09BD | Schneider | Pcs | 694575 | 35%
237 | Current Transformer (CT) 5/250A DIN Rail Mounting | METSECT5MA025 | Schneider | pcs | 346000 | 35%
238 | Emergency stop latching turn to release | XB4BS542 | Schneider | Pcs | 171627 | 35%
239 | Lamp LED 220VAC Green | XB4BVM3 | Schneider | Pcs | 112255 | 35%
240 | Lamp LED 220VAC red | XB4BVM4 | Schneider | Pcs | 112255 | 35%
241 | Lamp LED 220VAC Yellow | XB4BVM5 | Schneider | Pcs | 112255 | 35%
242 | Lamp LED 24VDC red | XB4BVB4 | Schneider | pcs | 157000 | 35%
243 | Lamp LED 24VDC Yellow | XB4BVB5 | Schneider | pcs | 157000 | 35%
244 | M340 20-pin removable caged terminal blocks -1 x 0.34..1 mm2 | BMXFTB2000 | Schneider | pcs | 508500 | 35%
245 | M340 28-pin removable spring terminal blocks - 1 x 0.34..1 mm2 | BMXFTB2820 | Schneider | pcs | 611000 | 35%
246 | M340 Analog input module 8 inputs temperature | BMXART0814 | Schneider | pcs | 13731000 | 35%
247 | M340 Cord set - 40-way terminal - SUB-D25 connector 5 m | BMXFCA502 | Schneider | pcs | 2591000 | 35%
248 | M340 CPU 2 Port Modbus | BMXP342000 | Schneider | pcs | 13367000 | 35%
249 | M340 Discrete input 16 inputs 24VDC positive | BMXDDI1602 | Schneider | pcs | 2977000 | 35%
250 | M340 Discrete output 16 outputs 24VDC positive | BMXDDO1602 | Schneider | pcs | 3599000 | 35%
251 | M340 Ethernet module M340 - flash memory card - 1 x RJ45 10/100 | BMXNOE0100 | Schneider | pcs | 17424000 | 35%
252 | M340 Isolated analog input 8 inputs | BMXAMI0810 | Schneider | pcs | 10275000 | 35%
253 | M340 Power supply 100-240 VAC 36 W | BMXCPS3500 | Schneider | pcs | 9313000 | 35%
254 | M580 Rack X80 - 12 slots - Ethernet backplane | BMEXBP1200 | Schneider | pcs | 11193000 | 35%
255 | MCB Fuse-disconnector 1P 10 A - for fuse 8.5 x 31.5 mm | A9N15635 | Schneider | pcs | 88500 | 35%
256 | MCB iC60NN 1P 10A | A9F74110 | Schneider | Pcs | 116025 | 35%
257 | MCB iC60NN 1P 2A | A9F74102 | Schneider | Pcs | 127050 | 35%
258 | MCB iC60NN 1P 40A | A9F74140 | Schneider | pcs | 151000 | 35%
259 | MCB iC60NN 1P 4A | A9F74104 | Schneider | Pcs | 121000 | 35%
260 | MCB iC60NN 2P 10A | A9F74210 | Schneider | pcs | 306500 | 35%
261 | MCB iC60NN 2P 2A | A9F74202 | Schneider | pcs | 367500 | 35%
262 | MCB iC60NN 2P 4A | A9F74204 | Schneider | pcs | 367500 | 35%
263 | MCB iC60NN 3P 6A | A9F74306 | Schneider | pcs | 465500 | 35%
264 | Motor Circuit Breaker GV2ME 3P 13-18 A | GV2ME20 | Schneider | Pcs | 672525 | 35%
265 | Motor Circuit Breaker GV2ME 3P 6-10 A | GV2ME14 | Schneider | Pcs | 623175 | 35%
266 | Motor Circuit Breaker GV2ME 3P 9-14 A | GV2ME16 | Schneider | pcs | 693182 | 35%
267 | Mounting Plate | NSYMM86 | Schneider | Pcs | 743182 | 24%
268 | Panel Box SS 800Hx600Wx300D mm | NSYS3DEX8630 | Schneider | Pcs | 7797273 | 24%
269 | Panel Box SS 1200Hx1000Wx400D mm |  | Schneider | Pcs | 10800000 | 24%
270 | PC Socket 2 pole + neutral 10/16A 250V din Rail | A9A15307 | Schneider | Pcs | 342300 | 35%
271 | PM5560 Integrated Display Acc 0.2s Ethernet port | METSEPM5350 | Schneider | pcs | 6031000 | 35%
272 | Relay 24VDC, 4 contact C/O | RXM4AB2BD | Schneider | Pcs | 86625 | 35%
273 | Selector switch 230VAC 2A XB4 +options | XB4BD53 | Schneider | pcs | 166000 | 35%
274 | Socket for relay RXM2/4 | RXZE1M4C | Schneider | Pcs | 30498 | 35%
275 | Socket for relay RXZ | RXZE2S114M | Schneider | pcs | 45000 | 35%
276 | TeSys fuse-disconnector - fuse cartridge 8.5 x 31.5 mm - aM 2 A -w/o indication | DF2BA0200 | Schneider | Box | 171364 | 35%
277 | TeSys fuse-disconnector - fuse cartridge 8.5 x 31.5 mm - aM 4 A - w/o indication | DF2BA0400 | Schneider | Box | 198636 | 35%
278 | S7-1500, MOUNTING RAIL 482 MM (APPR. 19 INCH) | 6ES7590-1AE80-0AA0 | Siemens | Pcs | 377000 | 2%
279 | S7-1500, mounting rail 245 mm (approx. 9.6 inch) | 6ES7590-1AC40-0AA0 | Siemens | Pcs | 415000 | 2%
280 | S7-1500, Front connector Screw-type connection system, 40-pole for 35 mm | 6ES7592-1AM00-0XB0 | Siemens | Pcs | 453000 | 2%
281 | SIMATIC S7-1500, FRONTCONNECTOR SCREW-TYPE, 40PIN, FOR 35MM | 6ES7592-1AM00-0XB0 | Siemens | Pcs | 453000 | 2%
282 | S7 Memory Card 4MB | 6ES7954-8LC03-0AA0 | Siemens | Pcs | 525000 | 2%
283 | S7 Memory card, 4 MB | 6ES7954-8LC03-0AA0 | Siemens | Pcs | 625000 | 0%
284 | S7, memory card for S7-1x 00 CPU/SINAMICS, 3, 3 V flash, 4 MB | 6ES7954-8LC02-0AA0 | Siemens | Pcs | 625000 | 0%
285 | S7-1200, ANALOG INPUT, SM 1231, 4 AI, 12 BIT + SIGN BIT (13 BIT ADC) | 6ES7231-4HD32-0XB0 | Siemens | Pcs | 2190000 | 0%
286 | Pressure Transmitter | 7MF1565-3CA00-6AA1 | Siemens | Pcs | 2200000 | 0%
287 | SIMATIC S7-1200, CPU 1212C, compact CPU, DC/DC/relay, 8 DI 24VDC; 6 DO relay 2A; 2 AI 0-10 V DC, Power supply: DC 20.4-28.8V DC, Program/data memory 75 KB | 6ES7212-1HE40-0XB0 | Siemens | Pcs | 2232500 | 0%
288 | S7-1500, SYSTEM POWER SUPPLY PS 25W 24V DC | 6ES7505-0KA00-0AB0 | Siemens | Pcs | 2329000 | 2%
289 | S7-1500, ANALOG INPUT MODULE AI 4 X U/I/RTD/TC, 16 BITS OF RESOLUTION | 6ES7531-7QD00-0AB0 | Siemens | Pcs | 3594000 | 2%
290 | S7-1500, DIGITAL INPUT MODULE DI32 X DC24V | 6ES7521-1BL00-0AB0 | Siemens | Pcs | 4060000 | 3%
291 | S7-1500, DIGITAL OUTPUT MODULE DQ 32 X 24V DC/0.5A | 6ES7522-1BL01-0AB0 | Siemens | Pcs | 5082000 | 2%
292 | S7-1200, CPU 1215C 14DI, 10DO, 2AI, 24VDC, Program/Data Memory 100 KB | 6ES7215-1AG40-0XB0 | Siemens | Pcs | 5400000 | 0%
293 | S7-1500, ANALOG OUTPUT MODULE AQ 4 X U/I ST; 16 BITS OF RESOLUTION | 6ES7532-5HD00-0AB0 | Siemens | Pcs | 5838000 | 2%
294 | S7-1500, ANALOG IN-/OUTPUT MODULE AI 4X U/I/R/RTD/TC, AQ 2X U/I | 6ES7534-7QE00-0AB0 | Siemens | Pcs | 6644000 | 2%
295 | S7-1500, SYSTEM POWER SUPPLY PS 60W 24/48/60V DC | 6ES7505-0RA00-0AB0 | Siemens | Pcs | 6823000 | 3%
296 | S7-1500, CPU 1511-1 PN, CENTRAL PROCESSING UNIT WITH WORKING MEMORY 150 KB FOR PROGRAM AND 1 MB FOR DATA | 6ES7511-1AK02-0AB0 | Siemens | Pcs | 9100000 | 0%
297 | SIMATIC TP700 COMFORT PANEL, WINDOWS CE 6.0, 7" WIDESCREEN-TFT-DISPLAY, 12 MB USER MEMORY, CONFIGURABLE FROM WINCC V11 | 6AV2124-0GC01-0AX0 | Siemens | Pcs | 11900000 | 0%
298 | Control Valve Directional Component | SS3YJ5-41-13-01 | SMC | Pcs | 1788000 | 0%
299 | Selenoid Valve | SYJ514-5HZ | SMC | Pcs | 695000 | 0%
300 | Cable 3x0.75 mm screen |  | SMI | Meter | 8250 | 0%
301 | Cable 3x2,5mm2 (Abu-Abu) |  | SMI | Meter | 14080 | 0%
302 | Cable 3x2.5mm2 unscreen |  | SMI | Meter | 14960 | 0%
303 | Cable 4x1,5mm2 Screened SiHF/C/Si |  | SMI | Meter | 15840 | 0%
304 | Cable 8x1.5mm2 |  | SMI | Meter | 23040 | 0%
305 | Cable 4x2.5mm2 | YSLY-JZ | SMI CABLE | Meter | 18400 | 0%
306 | Cable 12x0.75mm2 | YSLY-JZ | SMI CABLE | Meter | 18560 | 0%
307 | Cable 4x4mm2 | NYYHY | SMI CABLE | Meter | 27000 | 0%
308 | Cable 18x0.75mm2 | YSLY-JZ | SMI CABLE | Meter | 27600 | 0%
309 | Cable 4x2.5mm2 | NYY | Supreme Cable | Meter | 17360 | 0%
310 | Cable 3x4mm2 | NYY | Supreme Cable | Meter | 20000 | 0%
311 | Cable 4x10mm2 | NYY | Supreme Cable | Meter | 67540 | 0%
312 | Cable 4x50mm2 | NYY | Supreme Cable | Meter | 253830 | 0%
313 | Cable 4x95mm2 | NYY | Supreme Cable | Meter | 495940 | 0%
314 | Temperature Sensor |  | Tegussa | Pcs | 1900000 | 0%
315 | Panel Box SS Eex 458Hx382Wx205D mm |  | Tempa Pano | Pcs | 6800000 | 0%
316 | Panel BOX ABS Plastik 125Hx125wx100D Grey |  | Ti-Box | Pcs | 110000 | 0%
317 | Cross-connector, For the terminals WQB B/10 | 1579050000 | Weidmueller | Pcs | 27000 | 0%
318 | DEK 5/5 PLUS MC NE WS | 1854490000 | Weidmueller | Pcs | 76000 | 0%
319 | Feed-through terminal, Double-tier terminal, Screw connection, 2.5 mm², 400 V, 24 A, Dark Beige | 1021500000 | Weidmueller | Pcs | 32000 | 0%
320 | Feed-through terminal, Double-tier terminal, Screw connection, 2.5 mm², 400 V, 24 A, Dark Beige | 1021500000 | Weidmueller | Pcs | 39000 | 0%
321 | Terminal End plate. WAP WDK2.5 | 1059100000 | Weidmueller | Pcs | 6000 | 0%
322 | Terminal End plate. WAP WDU2.5 | 1050000000 | Weidmueller | Pcs | 6000 | 0%
323 | Terminal marker, 44.5 x 9.5 mm, Pitch in mm (P): 5.00 Beige | 1631930000 | Weidmueller | Pcs | 14000 | 0%
324 | Terminal PE, Screw connection, 10 mm², 1200 A (10 mm²), green / yellow | 1010300000 | Weidmueller | Pcs | 21000 | 0%
325 | Terminal PE, Screw connection, 4 mm², 480 A (4 mm²), green / yellow | 1010100000 | Weidmueller | Pcs | 42000 | 0%
326 | Terminal PE, Screw connection, 50 mm², green / yellow | 1820840000 | Weidmueller | Pcs | 148000 | 0%
327 | Terminal, Screw connection, 50 mm², dark beige | 1846040000 | Weidmueller | Pcs | 283000 | 0%
328 | Dinrail |  | Weidmuller | Pcs | 160000 | 0%
329 | Terminal Fuse 6mm WSI6 |  | Weidmuller | pcs | 41000 | 0%
330 | Terminal Jumper 2.5/10 |  | Weidmuller | Pcs | 18000 | 0%
331 | Terminal PE, Screw connection, 2.5 mm², 300 A (2.5 mm²), green / yellow | 1010000000 | Weidmuller | pcs | 41000 | 0%
332 | Terminal, Double-tier terminal, Screw connection, 2.5 mm², 400 V, 24 A, dark beige | 1021500000 | Weidmuller | pcs | 24000 | 0%
333 | Terminal, Screw connection, 10 mm², 1000 V, 57 A, dark beige | 1020300000 | Weidmuller | pcs | 23000 | 0%
334 | Terminal, Screw connection, 2.5 mm², 800 V, 24 A, Dark Beige | 1020000000 | Weidmuller | pcs | 8000 | 0%
335 | Terminal, Screw connection, 4 mm², 800 V, 32 A, Dark Beige | 1020100000 | Weidmuller | pcs | 9000 | 0%
336 | Terminal, Screw connection, 50 mm², dark beige |  | Weidmuller | pcs | 145000 | 0%
337 | HMI 7" TFT Display | MT8071iP | Weintek | Pcs | 3446900 | 30%
338 | IOT Box | CMT-SVR-100 | Weintek | Pcs | 4550000 | 30%
339 | IOT Box with Wireless | CMT-SVR-200 | Weintek | Pcs | 8600000 | 30%
340 | Acrylic 5mm |  |  | Lbr | 1010000 | 0%
341 | cable 1x10mm hitam |  |  | roll | 1295000 | 0%
342 | CABLE GLEND M 20 |  |  | PCS | 9000 | 0%
343 | cable Skun SC 10 3 warna |  |  | Pcs | 250 | 0%
344 | cable Skun SC 10-6 |  |  | Pcs | 1200 | 0%
345 | cable Skun SC 120 3 warna |  |  | Pcs | 1500 | 0%
346 | cable Skun SC 120-10 |  |  | Pcs | 16500 | 0%
347 | cable Skun SC 16 3 warna |  |  | Pcs | 400 | 0%
348 | cable Skun SC 16-8 |  |  | Pcs | 2000 | 0%
349 | cable Skun SC 25 3 warna |  |  | Pcs | 500 | 0%
350 | cable Skun SC 25-8 |  |  | Pcs | 2500 | 0%
351 | cable Skun SC 50 3 warna |  |  | Pcs | 750 | 0%
352 | cable Skun SC 50-8 |  |  | Pcs | 4900 | 0%
353 | cable Skun SC 6 3 warna |  |  | Pcs | 200 | 0%
354 | cable Skun SC 6-6 |  |  | Pcs | 1000 | 0%
355 | Connector RJ 45 |  |  | BOX | 145000 | 0%
356 | EEW HRLM PILOT LIGHT YELLOW 24VDC |  |  | PCS | 406000 | 0%
357 | EEW HRLM PUSH BUTTON GREEN WITH CONTACT POINT |  |  | PCS | 385000 | 0%
358 | EEW HRLM PUSH BUTTON RED WITH CONTACT POINT |  |  | PCS | 385000 | 0%
359 | Heat Shrink (Black) untuk ukuran busbar 100x10mm |  |  | M | 48000 | 0%
360 | Heat Shrink (Black) untuk ukuran busbar 60x10mm |  |  | M | 40000 | 0%
361 | Heat Shrink 115mm (Biru) / 70 |  |  | m | 55000 | 0%
362 | Heat Shrink 2.5mm (Hitam) |  |  | m | 2000 | 0%
363 | ISOLASI HITAM |  |  | PCS | 7500 | 0%
364 | Isolator bulat 40x40 |  |  | Pcs | 9000 | 0%
365 | KSS Marker Strip | MS-100 |  | Pcs | 750 | 0%
366 | Label Machine Letatwin ink ribbon | LM-370A |  | Pcs | 125000 | 0%
367 | Lakban Bening |  |  | PCS | 9000 | 0%
368 | Lakban Kertas |  |  | Pcs | 5000 | 0%
369 | Lakban Kertas |  |  | Pcs | 5000 | 0%
370 | Lakban Kertas |  |  | Pcs | 5000 | 0%
371 | Lakban Kertas |  |  | PCS | 5000 | 0%
372 | Lakban Kertas |  |  | Pcs | 5000 | 0%
373 | Mata Bor 10 |  |  | Pcs | 75000 | 0%
374 | Mata Bor 3,5 |  |  | Pcs | 17500 | 0%
375 | Mata bor 4,5 |  |  | Pcs | 20000 | 0%
376 | Mata Bor 6 |  |  | Pcs | 30000 | 0%
377 | Mata Bor 8 |  |  | Pcs | 45000 | 0%
378 | Skun Ring 10mm |  |  | Pcs | 1000 | 0%
379 | Skun Ring 10mm - Lubang baut M8/M10 |  |  | Pcs | 1000 | 0%
380 | Skun Ring 150mm - Lubang baut M10 |  |  | Pcs | 16000 | 0%
381 | Skun Ring 2.5mm - Lubang baut M8/M10 |  |  | Pcs | 42000 | 0%
382 | Skun Ring 25mm |  |  | Pcs | 2500 | 0%
383 | Skun Ring 35mm |  |  | Pcs | 3500 | 0%
384 | Skun Ring 4mm - Lubang baut M8/M10 |  |  | Pcs | 59000 | 0%
385 | Skun Ring 50mm |  |  | Pcs | 4500 | 0%
386 | Skun Ring 70mm |  |  | Pcs | 7800 | 0%
387 | SKUN RING SC 10 - 6 |  |  | PCS | 1200 | 0%
388 | Skun Y 1,5mm |  |  | Pak | 18000 | 0%
389 | Skun Y 1,5mm Hitam |  |  | Pcs | 165 | 0%
390 | Skun Y 10mm |  |  | pak | 120000 | 0%
391 | Skun Y 2,5mm |  |  | Pak | 20000 | 0%
392 | Skun Y 2,5mm Hitam |  |  | Pcs | 200 | 0%
393 | Skun Y 4mm |  |  | Pak | 34000 | 0%
394 | Skun Y 4mm Hitam |  |  | Pcs | 350 | 0%
395 | TANG RJ 45 |  |  | PCS
396 | Tap 5 |  |  | Pcs | 20000 | 0%
397 | Tap 6 |  |  | Pcs | 30000 | 0%
398 | Tap 8 |  |  | Pcs | 35000 | 0%
399 | VGA: Nvidia 2/4GB DDR5, Support DirectX 11
400 | Vinnyl Biru 10mm |  |  | Pcs | 300 | 0%
401 | Vinnyl Biru 150mm |  |  | Pcs | 1700 | 0%
402 | Vinnyl Biru 2.5mm |  |  | Pcs | 150 | 0%
403 | Vinnyl Biru 25mm |  |  | Pcs | 400 | 0%
404 | Vinnyl Biru 4mm |  |  | Pcs | 200 | 0%
405 | Vinnyl Biru 50mm |  |  | Pcs | 700 | 0%
406 | Vinnyl Biru 70mm |  |  | Pcs | 1000 | 0%
407 | Vinnyl Hitam 10mm |  |  | Pcs | 300 | 0%
408 | Vinnyl Hitam 150mm |  |  | Pcs | 1700 | 0%
409 | Vinnyl Hitam 2.5mm |  |  | Pcs | 150 | 0%
410 | Vinnyl Hitam 25mm |  |  | Pcs | 400 | 0%
411 | Vinnyl Hitam 4mm |  |  | Pcs | 200 | 0%
412 | Vinnyl Hitam 50mm |  |  | Pcs | 700 | 0%
413 | Vinnyl Hitam 6mm |  |  | Pcs | 200 | 0%
414 | Vinnyl Hitam 70mm |  |  | Pcs | 1000 | 0%
415 | Vinnyl Kuning 10mm |  |  | Pcs | 300 | 0%
416 | Vinnyl Kuning 150mm |  |  | Pcs | 1700 | 0%
417 | Vinnyl Kuning 2.5mm |  |  | Pcs | 150 | 0%
418 | Vinnyl Kuning 25mm |  |  | Pcs | 400 | 0%
419 | Vinnyl Kuning 4mm |  |  | Pcs | 200 | 0%
420 | Vinnyl Kuning 50mm |  |  | Pcs | 700 | 0%
421 | Vinnyl Kuning 6mm |  |  | Pcs | 200 | 0%
422 | Vinnyl Kuning 70mm |  |  | Pcs | 1000 | 0%
423 | Vinnyl Merah 10mm |  |  | Pcs | 300 | 0%
424 | Vinnyl Merah 150mm |  |  | Pcs | 1700 | 0%
425 | Vinnyl Merah 2.5mm |  |  | Pcs | 150 | 0%
426 | Vinnyl Merah 25mm |  |  | Pcs | 400 | 0%
427 | Vinnyl Merah 4mm |  |  | Pcs | 200 | 0%
428 | Vinnyl Merah 50mm |  |  | Pcs | 700 | 0%
429 | Vinnyl Merah 6mm |  |  | Pcs | 200 | 0%
430 | Vinnyl Merah 70mm |  |  | Pcs | 1000 | 0%